## Sheet1
P.O.Box 31758, Dubai - U.A.E. Tel: +971 4 3205363, Fax: +971 4 3205373, e-mail: glab@eim.ae
WORK SHEET FOR REBOUND HAMMER TEST (LARGE POURING CYLINDER)
Request No |  | GQ-230126-01 |  |  | Report No
Lab Project no |  | LP/16749/26/DXB |  |  | Report Date
Weather Condition |  |  |  |  | Date & Time of Test started |  | 23-01-2026
MDD/OMC |  |  |  |  | Date & Time of Test completed
Wt. of sand before pouring (m1) |  |  |  |  | Bulk Density of Sand
Sample Description |  |  |  |  | Wt. of sand in the cone (m2)
Sample No |  |  |  | GS-230126-01-2
Test No |  |  |  | 1
Actual Depth of the hole |  |  | (mm) | Rebound Hammer Test
Bottle reference No |  |  |  | RH
Mass of wet soil from the hole |  | (mw) | g
Mass of sand after pouring |  | (m4)* | g
Insitu bulk Density |  | Ῥ | Mg/m3
* values reported to the nearest 10 g
Container number
Mass of container |  |  | g
Mass of wet soil + container |  |  | g
Mass of dry soil + container |  |  | g
Mass of dry soil + container* |  |  | g
Moisture Content |  |  | %
* For oven drying at 800 C
Insitu Dry Density |  |  | Mg/m3
Degree of Compaction |  |  | %
Sand Calibration Cert. No |  | GSLSC |  | Cylinder Ref |  | Balance Ref |  | Oven Ref
TEST METHODs:
Insitu Density | :BS 1377: Part 9: 1990: Clause 2.2: Amd. 17229-2007.
Moisture Content | : BS EN ISO 17892-1 :2014+A1:2022
Test method variations |  | : Base plate not removed before sand pouring.
Remarks |  | :
Tested by |  | : | Aman
Verified by |  | :