## Data input
[18 empty] | 1 |  | 2 |  | 3
P.O.Box 31758-Dubai, UAE. Tel +971 4 3205363, Fax +971 4 3205373, e-mail: glab@eim.ae | [17 empty] | Vertically down |  | Horizontal |  | Vertically Up
WORKSHEET FOR SURFACE HARDNESS TEST BY REBOUND HAMMER
Information provided to the Laboratory: | [16 empty] | X |  | X |  | X
Contractor |  |  | : | 0 | [7 empty] | Report No : | GR- |  |  |  | 20 | 15 | 20 | 10 | 20
Client |  |  | : | 0 | [7 empty] | Report Date : | 00/00/0000 |  |  |  | 21 | 16 | 21 | 11 | 21
Consultant |  |  | : | M/s. 0 | [7 empty] | Request No : | GQ- |  |  |  | 22 | 18 | 22 | 12 | 22
Project |  |  | : | 0 | [7 empty] | Sample No : | GS- |  |  |  | 23 | 19 | 23 | 14 | 23
Description of structure |  |  | : | Column | [7 empty] | Lab Project No | LP- |  |  |  | 24 | 20 | 24 | 16 | 24
Type of concrete : |  |  | : | NG | [7 empty] | Date of test : | 00/00/0000 |  |  |  | 25 | 22 | 25 | 17 | 25 | 10
Date cast : |  |  | : | NG | [7 empty] | Tested by : | JAL |  |  |  | 26 | 24 | 26 | 18 | 26 | 11
[17 empty] | 27 | 28 | 27 | 20 | 27 | 13
[17 empty] | 28 | 27 | 28 | 22 | 28 | 14
Reference measurement |  |  |  | : | (before test) | [11 empty] | 29 | 28 | 29 | 23 | 29 | 16
Reference measurement |  |  |  | : | (after test) | [11 empty] | 30 | 30 | 30 | 25 | 30 | 17
Reference used |  |  |  | : | Compression Machine Platen for DTM- | [11 empty] | 31 | 32 | 31 | 26 | 31 | 18
Hammer equipment Id. |  |  |  | : | SRH-1 | [11 empty] | 32 | 34 | 32 | 28 | 32 | 20
Hammer type |  |  |  | : | ELE Normal type, range 10 to 70 N/mm2 | [11 empty] | 33 | 35 | 33 | 30 | 33 | 22
Correlated property |  |  |  | : | Compressive strength in N/mm2 | [11 empty] | 34 | 37 | 34 | 32 | 34 | 24
Source of correlation |  |  |  | : | Correlation curves of resistance to compression, provided by manufacturer | [11 empty] | 35 | 39 | 35 | 33 | 35 | 25
Type of surface |  |  |  | : | Rough(Dry) | [11 empty] | 36 | 40 | 36 | 35 | 36 | 27
Surface moisture condition |  |  |  | : | Normal | [11 empty] | 37 | 42 | 37 | 37 | 37 | 29
Direction of test |  |  |  | : | Horizontal | [6 empty] | 3 |  |  |  |  | 38 | 44 | 38 | 39 | 38 | 30
Test positions |  |  |  | : | Evenly spaced along length of column each 16 no. readings on approx.3cm grid. | [11 empty] | 39 | 46 | 39 | 40 | 39 | 32
Note: N/A indicates information not applicable | [16 empty] | 40 | 48 | 40 | 42 | 40 | 34
Result | [16 empty] | 41 | 50 | 41 | 44 | 41 | 36
Total No of readings taken |  |  |  |  | 16 | [11 empty] | 42 | 52 | 42 | 46 | 42 | 38
Test No. | Test Location | Rebound Hammer readings | [7 empty] | Mean | Range | Standard Deviation | Coefficient of variation (%) | Correlated Strength (N/mm2) |  |  | 43 | 54 | 43 | 48 | 43 | 40
1 | Column-1 | 31 | 34 | 33 | 34 | 32 | 31 | 35 | 31 | 32.2 | 4 | 1.3277 | 4.1232 | 28 |  | 28 | 44 | 56 | 44 | 50 | 44 | 42
|  | 32 | 31 | 31 | 31 | 32 | 33 | 33 | 31 | [5 empty] | 20 |  | 45 | 58 | 45 | 52 | 45 | 44
2 | Column-2 | 30 | 32 | 33 | 35 | 30 | 34 | 34 | 32 | 32.8 | 5 | 1.4841 | 4.5248 | 28 |  | 28 | 46 | 60 | 46 | 54 | 46 | 46
|  | 33 | 32 | 32 | 35 | 34 | 32 | 33 | 33 | [7 empty] | 47 | 62 | 47 | 56 | 47 | 48
3 | Column-3 | 35 | 36 | 35 | 37 | 36 | 36 | 32 | 35 | 35.7 | 6 | 1.3525 | 3.7886 | 34 |  | 34 | 48 | 64 | 48 | 58 | 48 | 50
|  | 35 | 36 | 35 | 37 | 35 | 36 | 38 | 37 | [7 empty] | 49 | 66 | 49 | 60 | 49 | 51
4 | Column-4 | 38 | 36 | 36 | 37 | 37 | 39 | 37 | 36 | 36.9 | 6 | 1.4085 | 3.8172 | 36 |  | 36 | 50 | 68 | 50 | 62 | 50 | 53
|  | 36 | 37 | 38 | 33 | 38 | 38 | 38 | 36 | [7 empty] | 51 | 70 | 51 | 64 | 51 | 56
5 | Column-5 | 31 | 32 | 32 | 34 | 35 | 34 | 35 | 34 | 33.3 | 4 | 1.4385 | 4.3199 | 30 |  | 30 | 52 |  | 52 | 66 | 52 | 58
|  | 35 | 31 | 32 | 33 | 34 | 35 | 32 | 33 | [7 empty] | 53 |  | 53 | 68 | 53 | 60
6 | Column-6 | 30 | 31 | 32 | 30 | 34 | 35 | 32 | 33 | 32.4 | 5 | 1.9315 | 5.9614 | 28 |  | 28 | 54 |  | 54 | 70 | 54 | 62
|  | 35 | 35 | 33 | 30 | 30 | 31 | 34 | 34 | [7 empty] | 55 |  | 55 |  | 55 | 64
7 | Column-7 | 34 | 31 | 35 | 33 | 35 | 34 | 35 | 34 | 33 | 5 | 1.6733 | 5.0707 | 30 |  | 30
|  | 31 | 32 | 30 | 31 | 33 | 32 | 33 | 35
8 | Column-8 | 34 | 36 | 35 | 33 | 36 | 34 | 37 | 35 | 34.9 | 4 | 1.1821 | 3.3871 | 34 |  | 34
|  | 34 | 35 | 35 | 37 | 35 | 35 | 35 | 33
Note: NG- Not Given
Test method used |  | 35: :; 31: BS EN 12504-2:2021
Test method variation |  | 35: :; 31: Reference anvil not used
Remarks | bar: 35
Results relate only to the location tested
This report shall not be reproduced except in full, without the written approval of the laboratory
Any unauthorized amendment/correction will invalidate this test report
مخـتـبــر كـلـوبـال لـفـحــص التـربـــة
SOIL INVESTIGATION LABORATORY

## Report
P.O.Box 31758, Dubai - U.A.E. Tel : +971 4 3205363, Fax : +971 4 3205373, e-mail : glab@eim.ae
REPORT ON SURFACE HARDNESS TESTING BY REBOUND HAMMER
Contractor |  |  | : | 0 |  |  |  | Report No :
Client |  |  | : | 0 |  |  |  | Report Date :
Consultant |  |  | : |  |  |  |  | Request No :
Project |  |  | : | 0 |  |  |  | Sample No :
Plot No |  |  | : |  |  |  |  | Lab Project No :
Location |  |  | : |  |  |  |  | Date of test :
Description of structure |  |  | : | Column |  |  |  | Tested by :
Test Result
Hammer type |  |  | : | ELE Normal type, range 10 to 70 N/mm2 |  |  |  | Spot located by : | Consultant
Reference Used |  |  | : | Compression Machine Platen for DTM- |  |  |  | Type of concrete : | NG
Hammer equipment Id. |  |  | : | SRH-1 |  |  |  | Date cast : | NG
Correlated property |  |  | : | Compressive strength in N/mm2 |  |  |  | Type of surface : | Rough(Dry)
Surface moisture condition : |  |  |  | Normal |  |  |  | Direction of test : | Horizontal
Check test |  |  | : | (before test) / NT (after test), using NT
Source of correlation |  |  | : | Correlation curves of resistance to compression, provided by manufacturer
Test positions |  |  | : | Evenly spaced along length of column each 16 no. readings on approx.3cm grid.
ID No. | Location | Rebound Measurements |  |  |  | Range | Std. Dev. | Coeff. Of Var.% | Mean | Correlated Strength N/mm2
1 | Column-1
2 | Column-2
3 | Column-3
4 | Column-4
5 | Column-5
6 | Column-6
7 | Column-7
8 | Column-8
Note: NG - Not Given
Test Method |  |  | :
Test Method Variation |  |  | : | Nil
Remarks |  |  | : | Nil
Results relate only to the location tested
This report shall not be reproduced except in full, without the written approval of the laboratory
Any unauthorized amendment/correction will invalidate this test report
Authorised Signatory
مخـتـبـركـلوبـال انجينرينغ لفحص التـربـة
GLOBAL ENGINEERING LABORATORY

## Sheet3
P.O.Box 31758-Dubai, UAE. Tel +971 4 3205363, Fax +971 4 3205373, e-mail: glab@eim.ae
WORKSHEET FOR SURFACE HARDNESS TEST BY REBOUND HAMMER
Information provided to the Laboratory:
Contractor |  |  | : |  |  |  |  | Report No :
Client |  |  | : |  |  |  |  | Report Date :
Consultant |  |  | : |  |  |  |  | Request No :
Project |  |  | : |  |  |  |  | Sample No :
Description of structure |  |  | : |  |  |  |  | Lab Project No
Type of concrete : |  |  | : |  |  |  |  | Date of test :
Date cast : |  |  | : |  |  |  |  | Tested by :
Reference measurement |  |  |  | : | (before test)
Reference measurement |  |  |  | : | (after test)
Reference used |  |  |  | : | Compression Machine Platen for DTM-
Hammer equipment Id. |  |  |  | : | SRH-1
Hammer type |  |  |  | : | ELE Normal type, range 10 to 70 N/mm2
Correlated property |  |  |  | : | Compressive strength in N/mm2
Source of correlation |  |  |  | : | Correlation curves of resistance to compression, provided by manufacturer
Type of surface |  |  |  | : | Rough(Dry)
Surface moisture condition |  |  |  | : | Normal
Direction of test |  |  |  | : | Horizontal/Vertical
Test positions |  |  |  | : | Evenly spaced along length of column each 16 no. readings on approx.3cm grid.
Note: N/A indicates information not applicable
Result
Test No. | Test Location | Rebound Hammer readings |  |  |  | Mean | Range | Standard Deviation | Coefficient of variation (%) | Correlated Strength (N/mm2)
Note: NG- Not Given
Test method used |  | : | BS EN 12504-2:2021
Test method variation |  | : | Reference anvil not used
Remarks |  | :
Results relate only to the location tested
This report shall not be reproduced except in full, without the written approval of the laboratory
Any unauthorized amendment/correction will invalidate this test report
مخـتـبــر كـلـوبـال لـفـحــص التـربـــة
SOIL INVESTIGATION LABORATORY